C O N T E N T S

Page No.

1.00	Introduction and Executive Summary	1 - 6

2.00	Catch Up and Future Major Works – Keystone Standard	7 - 9

3.00	Exceptional Extensive – Keystone Standard	10

4.00	Improvements – Keystone Standard	11 - 13

5.00	Contingent Major Repairs – Keystone Standard	14 - 20

6.00	Cyclical & Responsive Maintenance – Keystone Standard	21 – 22

7.00	Preliminaries – Keystone Standard	23

8.00	Summary of Costs – Keystone Standard	24 - 26

9.00	Decent Homes Standard	27 - 29

10.00	Budget Standard	30 – 32

11.00	Aspirational Standard	33 – 34

APPENDICES

Appendix A	30-year Profiles

Appendix B	Approved Life Expectancies and Schedule of Rates

Appendix C	Stock List of Surveyed Properties – to be provided electronically

Appendix D	Approved Policies

Appendix E	Aspirational Standard

Appendix F	Additional Supporting Information

1.00	INTRODUCTION AND EXECUTIVE SUMMARY

1.01	Purpose and Extent of the Survey

.01	Rand Associates have been commissioned to produce a revised Stock Condition Survey report for Royal Borough of Kensington and Chelsea (RBKC) and Kensington and Chelsea TMO (KCTMO). This will help inform the overall Asset Management Strategy, which includes future housing options and facilitates the development of a robust business plan. This report is intended to satisfy the following requirements:

- Provide accurate and statistically reliable information concerning repairs, maintenance, as well as improvement costs over a  year horizon.

- Report upon attribute and condition information about the stock for the purpose of improving existing records and future maintenance planning.

- Provide accessible, reliable and maintainable planning data for future repairs, maintenance and improvement programmes.

- To report on the Decent Homes Standard within the stock.

The total stock as of 1st May 2012 is declared as No. properties, which is made up of No. managed properties, together with a further leasehold properties (as per the Keystone database).

.02	Rand Associates were previously commissioned to undertake a sample Stock Condition Survey of the KCTMO housing stock in 2010. This report  complies with KCTMO’s Tender Documents dated November 2009, and Rand Associates’ Proposal also dated November 2009, as well as subsequent instructions issued by KCTMO in 2012.

.03	The survey includes the external fabric, common parts and associated assets of leasehold dwellings, the freehold interest of which is retained by RBKC. The figures shown in this report have not been discounted to allow for any costs that may be rechargeable to leaseholders.

.04	The stock condition survey data has been collected using Keystone Foundation and is held in Keystone Workbench. This report is based on an up-to-date copy of the Keystone database, which includes the 2010 Stock Condition Survey conducted by Rand Associates, as well as subsequent condition surveys conducted by KCTMO.

.05	Surveys in the Keystone database to date consist of the following sample sizes:

- Street Properties Externally –%

- Street properties Internally –%

- Estate Properties Externally –%

- Estate Properties Internally –%

.06	Data relating to energy efficiency and SAP scores has not been considered as part of this project.

.07	Rand Associates have not undertaken a site validation of surveys conducted by KCTMO since the 2010 stock condition survey.

.08	This report considers costs from the Keystone database and associated sources. This Keystone Standard is compared and contrasted with the Budget Standard and an Aspirational Standard in sections 10 and 11 of this report.

.09	Costs shown within this report are deemed to be inclusive of Fees and Inflation, but exclusive of VAT, unless otherwise stated.

1.02	Categories for Reporting Purposes

.01	The categories of cost, for assessment calculation and reporting have been determined as follows (the text in italics are brief extracts from government office definitions):

- Catch Up Repairs “….the backlog of repairs needed to make good observable defects in a dwelling, usually works which ought to have been done in the past under cyclical or responsive repairs or where planned maintenance has not been carried out.”

- Future Major Works “replacements/major overhauls necessary once catch-up repairs have been completed.”

- Exceptional Extensive “major works which are required to remedy particular significant defects and fall outside the definition of routine repairs and maintenance. They are usually works needed to provide the most effective technical solutions and will reduce future repair and maintenance costs.”

- Improvements “works which increase the standard of accommodation either by providing something which did not exist, or upgrading an element to be replaced.”

- Contingent Major Repairs “works which could be reasonably anticipated but for which there is no direct evidence of a problem in the properties concerned.”

- Preliminaries are additional costs associated with contractors’ work such as overheads, supervision, mechanical plant, insurances etc.

- Related Assets “repair works connected to the related assets of estates, such as those to garages and unadopted roads etc.”

- Responsive and Void Property Repairs “derived from records of responsive repairs in the past.”

- Cyclical Maintenance “cyclical work on an annual or longer-term cycle, such as servicing central heating and repainting.”

.02	Catch-Up Repairs can be modelled and programmed with Future Major Works into planned contracts.

.03	Future Major Works are based on the as found survey, but reconciled with the agreed component life cycles, as scheduled in Appendix ‘B’, and extended through to the end of the 30-year period.

.04	Contingent Major Repairs do not always have a defined time base except that they are likely to become manifest within years.  The respective values are distributed in equal increments from years  to  unless otherwise stated.  As it is unknown when these repairs will be required, it is not normally possible to allocate a particular repair cost to any one year.

.05	Cyclical, Responsive and Void Maintenance is based on historical data together with proposed Kensington and Chelsea TMO budgets and projected over the  year period.

.06	Data in respect of estate areas (Related Assets) has been included under the Future Major Works heading.

.07	Improvements are items of work identified as those which may be considered to raise the overall quality of the housing stock in line with Government expectations.  These items are not time or condition based and for reporting purposes these costs have been distributed equally over the first five years of the reporting period, unless otherwise stated.

.08	With the exception of scaffolding costs (which are identified separately) preliminaries are included within all costs shown in this report.

1.03	Budget Standard, Keystone Standard and Aspirational Standard

.01	This report focuses primarily on the Keystone Standard, and the headline variations between this Standard and the lower Budget Standard and higher Aspirational Standard are shown in sections  and  of this report. In making a comparison between the three standards, capital costs only have been considered, as revenue costs are assumed to be funded from other budgets.

.02 	The Budget Standard reflects the works that can be carried out on existing budgets. This addresses works to firstly ensure properties are wind and weathertight, secondly to consider legal and legislative issues, and finally to address Decent Homes issues.

.03	The Aspirational Standard addresses all the issues of the Keystone Standard, and additionally allows for the renewal of some elements to a higher specification and on a shorter lifecycle. The Aspirational Standard also includes some works, such as environmental works, that are not addressed in the Keystone Standard.

.04	The following table shows a comparison of the capital costs within the three standards over the first 5 and 30 years of the profile:

| Standard | Years Including inflation and fees | Years Including inflation and fees |
| --- | --- | --- |
| Budget Standard |  |  |
| Keystone Standard |  |  |
| Aspirational Standard |  |  |

.05	The following bar chart shows a comparison of the three standards at 5 yearly intervals across the 30 year period.

1.03 (cont’d)

.06	The Keystone database currently shows a significant backlog of works. The current proposed funding levels of the Budget Standard are not likely to have a significant impact on reducing this backlog. In the short term, the Budget Standard should be sufficient to ensure that properties remain wind and weathertight, legal and legislative issues are met, and non-decency is minimised where residual funding permits. However, as more elemental renewals are deferred, meeting these priorities will become increasingly difficult.

1.04	The Overall Results – Keystone Standard

.01	The total values assessed and calculated for the Keystone Standard as a result of the survey are as follows:

| #### Category | # Year Total Including Fees and Inflation |
| --- | --- |
| Catch Up Repairs |  |
| Future Major Works |  |
| Exceptional Extensive |  |
| Improvements |  |
| Contingent Major Repairs |  |
| Preliminaries |  |
| Sub-total (Capital Costs) |  |
| Responsive/Void Maintenance + Disabled Adaptations |  |
| Cyclical Servicing |  |
| Cyclical Decs |  |
| Sub-total (Responsive and Cyclical) |  |
| ##### Total |  |

.02	All values stated are as at May 2012 and include Contractors’ preliminaries, fees and inflation. All values are for a -year period as quoted, with the exception of Catch-Up Repairs and Improvements. The following percentage additions are included within the figures shown in this report:

- Inflation at % pa

- Fees @ %

No further allowances are made for:

- VAT

- Decanting of Tenants

1.04 (Cont’d)

.03	Some works carried out to the housing stock will be rechargeable to leaseholders. It is anticipated that of the capital costs in the above table, up to approximately £ may be rechargeable over the first years, and £ over the first  years.

.04	The number of properties currently failing the Decent Homes Standard at a minimum level is. The total cost to make these properties decent in respect of failure under all criteria is £. Further properties will potentially fail in future years if appropriate work is not carried out prior to failure.

1.05	.01	The values in 1.04 above expressed in graphical terms give rise to the following:

1.05 (Cont’d)

.02	The  year expenditure profile in -year bands for all categories shown in the above table is as follows:

1.06	Experience and Accuracy

.01	Rand Associates have been undertaking Stock Condition Surveys for over years, and have been using Keystone Asset Management software for over  years. Rand Associates carry a Professional Indemnity Insurance of £ with a year indemnity period.

2.00	CATCH UP AND FUTURE MAJOR WORKS – KEYSTONE STANDARD

2.01	.01	The extrapolated value of Catch Up Renewals and Repairs to the Housing Stock for external elements, internal elements, common parts and external works (within the curtilage of the properties) as determined from the visual inspection are as follows. These values include fees and inflation, and are assumed to be addressed over the first  years of the profile.

| Catch Up | Total |
| --- | --- |
| Chimneys |  |
| Pitched and Flat Roofs |  |
| External Joinery |  |
| Rainwater Goods |  |
| External Walls |  |
| Windows |  |
| External Doors |  |
| Stores and Outbuildings |  |
| Garages |  |
| External Works |  |
| Common Services |  |
| Common Access Within Structure |  |
| Common Heating & Plumbing |  |
| Lifts |  |
| Sanitary Fittings |  |
| Kitchens |  |
| Heating |  |
| General Plumbing |  |
| Electrics (Within dwellings) |  |
| Smoke Alarms & Warden Call |  |
| Damp & Condensation |  |
| HHSRS Hazards |  |
| ## Total to Summary 8.01 |  |

2.02	.01	The extrapolated value of Future Major Works (FMW) over ayear period to the Housing Stock for external elements, internal elements, common parts and external works (within the curtilage of the properties) as determined from the visual inspection are as follows. These values include fees and inflation.

| Future Major Works | -Year Total |
| --- | --- |
| Chimneys |  |
| Pitched and Flat Roofs |  |
| External Joinery |  |
| Rainwater Goods |  |
| External Walls |  |
| Windows |  |
| External Doors |  |
| Stores & Outbuildings |  |
| Garages |  |
| External Works |  |
| Common Services |  |
| Common Access Within Structure |  |
| Common Heating & Plumbing |  |
| Lifts |  |
| Sanitary Fittings |  |
| Kitchens |  |
| Heating |  |
| General Plumbing |  |
| Electrics (Within dwellings) |  |
| Smoke Alarms and Warden Call |  |
| ## Total to Summary 8.02 |  |

2.03	The following points of clarification are made in respect to the above values:

- External Works – these include all communal hard pavings, fencing and boundary structures throughout the estates

- Electrics – the majority of properties will be subject to a periodic electrical test, an allowance for which is included within the above costs. Further allowance is made for properties that are believed to require a full re-wire.

- Lifts – this is a very specialist element and the need for repair and renewal should be based on annual and periodic inspections by qualified lift engineers. The above allowance is based on information provided by officers of KCTMO.

- The costs in respect of Common Heating and Plumbing are as provided by KCTMO heating engineers.

- It is assumed that costs in respect to the Housing Health and Safety Rating System will come from the revenue budget.

2.04	.01	The Catch Up costs can be divided up as shown in the pie chart below:

.02	The Future Major Works costs over the first  years can be divided up as shown in the pie chart below:

3.00	EXCEPTIONAL EXTENSIVE – KEYSTONE STANDARD

3.01	As part of the 2010 stock condition survey, Curtins Consulting Ltd were engaged to carry out an assessment of the expenditure necessary to the structures of the properties within the non-traditionally constructed housing stock. This was produced in conjunction with officers of Kensington and Chelsea TMO.

3.02	Curtins Consulting Ltd have identified the recommended expenditure requirement over the 30-year period of the survey:

| Non Traditional Stock | # Time Period | # Total £ |
| --- | --- | --- |
| No. blocks | Years |  |
| ## Sub-Total |  |  |
| ## Total Including Inflation to Summary 8.03 (Years) |  |  |

The expenditure profile over the 30-year period is shown in Appendix ‘A’.

3.03	The allowance shown in the table above is sufficient to ensure that the wall structure of the relevant blocks remains in a serviceable condition. No allowance is made in respect of more aspirational improvements, such as those to improve energy efficiency savings at the blocks.

4.00	IMPROVEMENTS – KEYSTONE STANDARD

4.01	The following table shows a summary of the Improvement allowances made within this report. Further detail on each heading is provided in this section of the report.

| Category | -Year Provision |
| --- | --- |
| Heating |  |
| Energy Conservation |  |
| Communal Security and Safety |  |
| Smoke Alarms |  |
| Kitchens and Bathrooms |  |
| Renewal Costs |  |
| Total |  |

4.02	Heating

.01	Improved heating arrangements are included in accordance with Approved Policies (Appendix ‘D’).  The number of dwellings affected and the cost to improve heating provision i.e. install where none exists (subsequent renewal of the boiler is identified separately in Section 4.07) or upgrade partial systems is shown in the table below. No provision is included in respect of upgrading non-programmable heating systems on particular estates, as this is assumed to be included in the figures provided by KCTMO’s engineers for the renewal of central plant.

| ##### Improvement | Number of Dwellings | Cost £ |
| --- | --- | --- |
| Install Full Central Heating |  |  |
| Upgrade to Full Central Heating |  |  |
| Total to Summary 8.04 |  |  |

4.03	Energy Conservation

.01	Improved thermal insulation to external walls is included in accordance with Approved Policies (Appendix ‘D’).

02	The likely cost to install cavity insulation where none exists along with increasing the loft insulation to 270mm is included in the following table. Costs associated with the installation of solid wall insulation are deemed to be aspirational and therefore not included within the Keystone Standard.

| ##### Improvement | Number of Dwellings | Cost £ |
| --- | --- | --- |
| Cavity Wall Insulation |  |  |
| Increase Loft Insulation to 270mm |  |  |
| Total to Summary 8.04 |  |  |

4.04	Communal Security and Safety

.01	The following allowances are in respect of safety and security features to the common areas of blocks. The allocation in respect of the installation of CCTV is a budgetary provision informed by information from KCTMO.

| ##### Improvement | Number of Dwellings | Cost £ |
| --- | --- | --- |
| Install Door Entry Systems |  |  |
| Install Emergency Lighting |  |  |
| Install Fire Alarms |  |  |
| Install CCTV | N/A |  |
| Remedy Inadequate Common Areas (provisional allowance) |  |  |
| Total to Summary 8.04 |  |  |

4.05	Smoke Alarms

.01	The following provision is for installing hard-wired smoke alarms within the property where non-existent or improving the existing installation as determined by the surveyor.

| ##### Improvement | Number of Dwellings | Cost £ |
| --- | --- | --- |
| Install Hard-Wired Smoke Alarms |  |  |
| Total to Summary 8.04 |  |  |

4.06	Kitchens and Bathrooms

.01	The survey identified properties which would benefit from possible alterations to the kitchen layouts, and the installation of wash hand basins. The following provision is made in this respect. This excludes provision for the installation of showers where none currently exist as this is deemed an aspirational improvement and therefore not included within the Keystone Standard.

| ##### Improvement | Number of Dwellings | Cost £ |
| --- | --- | --- |
| Kitchen layout alterations (provisional allowance) |  |  |
| Install Wash Hand Basin |  |  |
| Total to Summary 8.04 |  |  |

4.07	Renewal Costs

.01	Within this report, it has been assumed that the improvements listed in this section will be carried out within years 1-5 of the profile. Many items installed during this period will require subsequent renewal at a later date. The following represents the estimated costs in this respect.

| Improvement | Cost £ |
| --- | --- |
| Install Door Entry Systems |  |
| Install CCTV |  |
| Install Hard Wired Smoke Detectors |  |
| Install Fire Alarms |  |
| Boiler Renewal (following heating system install) |  |
| Total to Summary 8.04 |  |

5.00	CONTINGENT MAJOR REPAIRS – KEYSTONE STANDARD

5.01	The allowances stated under this section are provisional and may vary subject to any further specialist surveys undertaken in the future.

The following table shows a summary of the Contingent Major Repairs allowances made within this report. Further detail on each heading is provided in this section of the report.

| Category | -Year Provision |
| --- | --- |
| Drainage – Common/Shared Drains and Sewers |  |
| Mains Supply Services – Water |  |
| Mains Supply Services – Electricity |  |
| Ancillary Liabilities |  |
| Structural Works |  |
| Fire Safety and Means of Escape |  |
| Asbestos Based Products |  |
| Sound Transmission |  |
| Disability Discrimination Act |  |
| Trellick Tower Extra Over |  |
| Total |  |

5.02	Drainage - Common/Shared Drains and Sewers

.01	Records of ownership/adoption of drains were not available during the currency of the survey.  It is generally accepted by Kensington and Chelsea TMO that drainage within the curtilage of the properties is un-adopted and remains in the first instance the responsibility of Kensington and Chelsea TMO (unless all dwellings using shared drains are sold). This general rule is varied by the 1991 Water Act whereby it was ruled that where any Pre 1936 property shares a sewer with one or more other properties built before 1936 the sewer is adopted by the Water Authority.  The application of the Act however is also varied where the drains of a Pre 1936 property have subsequently been renewed, but prior to the Act coming into force.  It is not known to what extent work may have taken place to properties in this category.

.02	During the 1960's and early 1970's pitched fibre pipework was an acceptable material, but has been found to become subject to cross sectional deformation even under normal ground pressures.  It is not known to what extent pitched fibre pipework exists in the housing stock.

5.02 (Cont’d)

.03	For reporting purposes the following provision is made under the contingent major repair category for the likely event of drain failure over the next 30 years.  The following table demonstrates the methodology to build up this cost.

| Era | No. of Dwellings | % Failure | Dwellings subject to failure | Cost per Dwelling | Total Cost |
| --- | --- | --- | --- | --- | --- |
| Pre 1945 |  |  |  |  |  |
| 1945-64 |  |  |  |  |  |
| 1965-74 |  |  |  |  |  |
| Post 74 |  |  |  |  |  |
| ## Sub-Total |  |  |  |  |  |
| ## Deduction for pre-1936 properties |  |  |  |  |  |
| ## Sub-Total |  |  |  |  |  |
| ## Total Including Inflation to Summary 8.05 (Years) |  |  |  |  |  |

.04	On larger Estates in town developments it is assumed that the collection sewers running in public areas e.g. under roads and footpaths are all adopted by the Local Water Authority, therefore no further allowance is made in this respect in this report.

5.03	Mains Supply Services - Water

.01	The renewal of incoming water mains as identified by the survey is included within the Future Major Works reporting category. An allowance of £600 per dwelling is made (based on a percentage of total stock) for shared mains for which Kensington and Chelsea TMO may be responsible. A further allowance is made to reflect the installation of cold water booster pumps to accommodate the Thames Water pressure reduction over the first 5 years of the profile.

| Era | No. of Dwellings | % Failure | Dwellings subject to failure | Cost per Dwelling | Total Cost |
| --- | --- | --- | --- | --- | --- |
| Pre 1945 |  |  |  |  |  |
| 1945-64 |  |  |  |  |  |
| Post 64 |  |  |  |  |  |
| ## Sub-Total |  |  |  |  |  |
| Installation of Cold Water Booster Pumps |  |  |  |  |  |
| ## Sub-Total |  |  |  |  |  |
| ## Total Including Inflation to Summary 8.05 (Years) |  |  |  |  |  |

5.04	Mains Supply Services – Electricity

.01	The following provision is made in respect of works required to communal electrical distribution and sub-main cables:

| All Stock | Annual Allowance £ | Years | Total Cost £ |
| --- | --- | --- | --- |
| Years 1-5 |  |  |  |
| Years 6-30 |  |  |  |
| ## Sub-Total |  |  |  |
| ## Total Including Inflation to Summary 8.05 (Years) |  |  |  |

5.05	Ancillary Liabilities

.01	The following provision is made with respect to costs necessary to the supply of underground services across the housing stock, based on information provided by KCTMO:

| All Stock | Annual Allowance £ | Years | Total Cost £ |
| --- | --- | --- | --- |
| Years 1-5 |  |  |  |
| ## Sub-Total |  |  |  |
| ## Total Including Inflation to Summary 8.05 (Years) |  |  |  |

5.06	Structural Works

.01	Within the sample surveys undertaken there is little/no evidence of wall tie failure in the purpose built stock with cavity wall construction.  Where cavity insulation may have previously taken place it is not known if a wall tie survey was undertaken and defects rectified prior to installation.

It would appear prudent to allow for the likelihood of wall tie failure over the 30 year period to a proportion of the stock.  Additionally an allowance should be made for the occurrence of other ancillary super-structural problems in respect to solid and cavity walls over the same period that may not be provided for by the application of normal life expectancies in conjunction with the sample survey e.g. lintel or head failure during door or window renewals.

The following allowance is made based on a percentage of the traditionally built cavity wall and solid wall construction stock.

| Era | No. of Dwellings | % Affected | Dwellings subject to failure | Cost per Dwelling | Total Cost |
| --- | --- | --- | --- | --- | --- |
| Pre 1945 |  |  |  |  |  |
| 1945 - 64 |  |  |  |  |  |
| 1965 - 74 |  |  |  |  |  |
| Post 74 |  |  |  |  |  |
| ## Total (Carried Forward) |  |  |  |  |  |

.02	Sub-structural problems where detected by this survey will generate a need to monitor the affected buildings for future movement. It is expected that through various causes underpinning will become necessary to some properties over the next 30 years. An allowance of £57,500 pa has been allowed for in this respect, which also includes for the monitoring of cracking where necessary.

| All Stock | Annual Allowance £ | Years | Total Cost £ |
| --- | --- | --- | --- |
| Underpinning |  |  |  |
| ## Total (Carried Forward) |  |  |  |

.03	A provision of £57,500 pa is made in respect of structural works required to ancillary buildings and estate elements in addition to the dwellings allowed for above, based on information provided by KCTMO:

| All Stock | Annual Allowance £ | Years | Total Cost £ |
| --- | --- | --- | --- |
| Ancillary Buildings |  |  |  |
| ## Total (Carried Forward) |  |  |  |

.04	The totals for the Structural Works are therefore as follows:

| Super-structural (b/f) |  |
| --- | --- |
| Sub-structural (b/f) |  |
| Ancillary buildings |  |
| ## Sub-Total |  |
| ## Total Including Inflation to Summary 8.05 (Years) |  |

5.07	Fire Safety and Means of Escape

.01	Current legislation pertaining to means of escape in relation to properties of 3 storeys or over requires that certain criteria be met i.e. protection of escape routes within the dwellings, horizontal escape routes in common areas and the provision of adequate (primary) vertical escape routes. The following allowance has been agreed with officers of Kensington and Chelsea TMO and represents the anticipated costs required in respect of fire safety.

| Year | Annual Allowance £ | Years | Total Cost £ |
| --- | --- | --- | --- |
| Years 1-30 |  |  |  |
| ## Sub-Total |  |  |  |
| ## Total Including Inflation to Summary 8.05 (30 Years) |  |  |  |

5.08	Asbestos Based Products

.01	Component renewal of asbestos based products where presumed within the survey is covered under catch up and future major works.  An additional cost is allowed for to dispose of these components due to the presumed presence of asbestos.  The latest legislation pertaining to asbestos puts a far higher emphasis on the safeguarding of the public and operatives. Consequently the following allowance is made.

.02	The value calculated is attributed to the Contingent Major Repairs category and will be subject to review when any estimates for the work are received. This allocation is based on information provided by the client from previous asbestos expenditure from the planned maintenance budget. A higher provision is allowed for in Years 1-5 to reflect the required backlog of works, based on information provided by KCTMO.

.03	The following provision is made as a Contingent Major Repair in respect of asbestos:

| All Stock | Annual Allowance £ | Years | Total Cost £ |
| --- | --- | --- | --- |
| Years 1-5 |  |  |  |
| Years 6-30 |  |  |  |
| ## Sub-Total |  |  |  |
| ## Total Including Inflation to Summary 8.05 (Years) |  |  |  |

NB:	The client should be aware that recently released guidance on asbestos could impact on the assumed future expenditure in this respect. This guidance is detailed within the document ‘HSG 264 Asbestos The Survey Guide’.

5.09	Sound Transmission

.01	Problems relating to sound transmission are not normally detected by a sample survey.  Remedial treatment should only be initiated in respect to perceived problems after appropriate feedback and discreet research.

.02	There is a need to consider a provision for future increased liabilities due to increased intolerance to noise levels and greater expectations of living standards.  The following calculation is therefore made and assumes a provision of £ pa over the first 10 years of the profile, based on information provided by KCTMO:

| All Stock | Annual Allowance £ | Years | Total Cost £ |
| --- | --- | --- | --- |
| Years 1-10 |  | 10 |  |
| ## Sub-Total |  |  |  |
| ## Total Including Inflation to Summary 8.05 (Years) |  |  |  |

5.10	Double Glazed Units

.01	It is likely that some of the double glazed units within windows will not last as long as the UPVC frames. KCTMO have advised that this would normally be dealt with as a responsive repair, and therefore no further allowances are made in this respect.

5.11	Contaminated Land, Radon etc.

.01	The existence and extent of contaminated land within the stock is not known and therefore no allowance is made in this report.  Similarly, the existence of Radon has not been researched under this survey.

5.12	Disability Discrimination Act

.01	The following allowance is made in respect of works necessary to ensure compliance with the Disability Discrimination Act. An annual allowance of £is made for the first 10 years of the year profile, based on information provided by KCTMO.

| All Stock | Annual Allowance £ | Years | Total Cost £ |
| --- | --- | --- | --- |
| DDA Work |  | 10 |  |
| ## Sub-Total |  |  |  |
| ## Total Including Inflation to Summary 8.05 (Years) |  |  |  |

5.13	Trellick Tower Extra Over

.01	KCTMO have highlighted specific issues associated with Trellick Tower that due to the listed nature of this scheme reflect a higher cost than anticipated from previous reports. The following extra-over allowance is for specific works identified to Trellick Tower including window renewal, concrete repairs and associated scaffolding, and is in addition to works already identified within Keystone. These costs are detailed within the RBKC document ‘Trellick Tower – Projection of Maintenance Costs’. This document identifies further costs that may become necessary, but are not included within the provision shown in this report.

| Stock | Annual Allowance £ | Total Cost £ |
| --- | --- | --- |
| Trellick Tower | Various |  |
| ## Sub-Total |  |  |
| ## Total Including Inflation to Summary 8.05 (Years) |  |  |

6.00	CYCLICAL AND RESPONSIVE MAINTENANCE – KEYSTONE STANDARD

6.01	Budgets and Provisions for Cyclical and Responsive Maintenance

.01	Annual values for Cyclical and Responsive Maintenance have been obtained from Kensington and Chelsea TMO and are as shown in the following tables at 2010/2011 budget prices (with the exception of Responsive Maintenance by current and on-going KCTMO tender processes).  It is recommended that KCTMO review the table below to confirm this forms a valid forecast of future Responsive and Cyclical Maintenance costs.

.02	Responsive and Void Maintenance

| Category | Annual Allowance £ | Years | Yr Cost Exc Infl £ | Yr Cost Incl Infl £ |
| --- | --- | --- | --- | --- |
| Responsive |  |  |  |  |
| Void Maintenance |  |  |  |  |
| Disabled Adaptations |  |  |  |  |
| Misc Expen |  |  |  |  |
| ## Sub-Total |  |  |  |  |
| ## Total (Inc Inflation) to Summary 8.06 (Years) |  |  |  |  |

.03	Cyclical Servicing

| Category | Annual Allowance £ | Years | 30 Yr Cost Exc Infl £ | 30 Yr Cost Incl Infl £ |
| --- | --- | --- | --- | --- |
| Cyclical Servicing |  |  |  |  |
| ## Sub-Total |  |  |  |  |
| ## Total (Inc Inflation) to Summary 8.06 (Years) |  |  |  |  |

.04	Cyclical Decorations

| Category | Annual Allowance £ | Years | 30 Yr Cost Exc Infl £ | 30 Yr Cost Incl Infl £ |
| --- | --- | --- | --- | --- |
| Cyclical Decs |  |  |  |  |
| ## Sub-Total |  |  |  |  |
| ## Total (Inc Inflation) to Summary 8.06 (Years) |  |  |  |  |

6.01 (Cont’d)

.02	Within the void cost allowance shown above, it is known that capital costs for the renewal of major elements are included. There could therefore potentially be a double count between these void costs and the Catch-Up and Future Major Works costs shown elsewhere in this report. The level of capital costs within the void costs is not known, but will be the subject of further review by officers of Kensington and Chelsea TMO.

.03	Cyclical Maintenance

In the event that additional and full heating systems will be installed under an improvement programme the cost of servicing boilers will increase. The introduction of new smoke detection devices, mechanical ventilation, new door entry systems and other security measures will generate counterpart servicing liabilities. As any increase in expenditure is likely to be comparatively small, it is assumed that these costs can be absorbed into existing budgets.

.04	Responsive and Void Maintenance – Reduced Costs

It is unlikely that works currently undertaken within the responsive and void maintenance budgets will coincide with predicted renewals recorded under the stock condition survey, as there are no major works included within the responsive or void maintenance programmes.  Therefore no reductions have been made to the responsive and void maintenance budgets within this report.

7.00	PRELIMINARIES – KEYSTONE STANDARD

7.01	Scaffolding - Buildings of 3 Storeys or Above

.01	It is necessary to make an allowance for scaffolding to the properties for the purpose of maintenance, repairs and replacement of materials.

.02	The representation of the financial implications with regard to scaffolding can be difficult to represent over a horizon of years.  There is a wide range of variables that can effect the cost dramatically.

When demonstrating Future Major Works costs required over a horizon of 30 years it is possible to anticipate when work is likely to need to be carried out.  It is not possible however to anticipate how this work will be packaged or indeed how the site/location factors will influence the cost of any associated scaffolding over the next 30 years.

.03	For budgetary forecasting it is considered appropriate to make an allowance for scaffolding costs based on the following assumptions:

- All properties of 3 storeys or more will require scaffolding 2 times within the 30 year horizon

- A cost of £per SM is allocated for buildings of 3-10 storeys

- A cost of £per SM is allocated for buildings of 11 storeys or more.

| All Stock | Cost to Scaffold Once £ | Twice over years £ | Total £ |
| --- | --- | --- | --- |
| ## Sub-Total |  |  |  |
| ## Total Including Inflation to Summary 8.07 (Years) |  |  |  |

7.02	With the exception of the scaffolding costs shown above, all costs shown in this report include preliminaries, and therefore no further allowances are made in this respect in this report.

8.00	SUMMARY OF COSTS – KEYSTONE STANDARD

8.01	Summary of Catch Up Repairs

| Section | Heading | Years £ |
| --- | --- | --- |
| 2.02 | Housing - Sample Survey |  |
|  | Total to Page 3 |  |

8.02	Summary of Future Major Works

| Section | Heading | Years £ |
| --- | --- | --- |
| 2.03 | Housing - Sample Survey |  |
|  | Total to Page 3 |  |

8.03	Exceptional Extensive

| Section | Heading | Years £ |
| --- | --- | --- |
| 3.02 | Exceptional Extensive |  |
|  | Total to Page 3 |  |

8.04	Summary of Improvements

| Section | Heading | Years £ |
| --- | --- | --- |
| 4.02 | Heating |  |
| 4.03 | Energy Conservation |  |
| 4.04 | Security and Communal Safety |  |
| 4.05 | Smoke Detectors |  |
| 4.06 | Kitchens and Bathrooms |  |
| 4.07 | Future Renewal Costs |  |
|  | ### Total to Page 3 |  |

8.05	Summary of Contingent Major Repairs

| Section | Heading | Years £ |
| --- | --- | --- |
| 5.02 | Drainage |  |
| 5.03 | Mains Supply Services – Water |  |
| 5.04 | Mains Supply Services – Electric |  |
| 5.05 | Ancillary Liabilities |  |
| 5.06 | Structural Works |  |
| 5.07 | Fire Safety |  |
| 5.08 | Asbestos |  |
| 5.09 | Sound Transmission |  |
| 5.12 | DDA |  |
| 5.13 | Trellick Tower EO |  |
|  | Total to Page 3 |  |

8.06	Summary of Responsive and Cyclical Maintenance

| Section | Heading | Years £ |
| --- | --- | --- |
| 6.02 | Responsive |  |
| 6.02 | Void Maintenance |  |
| 6.02 | Disabled Adaptations |  |
| 6.02 | Misc Expenditure |  |
|  | Total to Page 3 |  |
| 6.02 | Cyclical Servicing |  |
|  | Total to Page 3 |  |
| 6.02 | Cyclical Decs |  |
|  | Total to Page 3 |  |

8.07	Prelims Summary

| Section | Heading |  |
| --- | --- | --- |
| 7.02 | Scaffolding |  |
|  | Total to Page 3 |  |

8.08	The tables in Appendix ‘A’ show the total costs in summary and for each reporting category distributed over the 30-year period as appropriate.

9.00	DECENT HOMES STANDARD

9.01	Background

The essence of the Decent Homes Standard is to create a minimum standard of housing across all social landlords’ housing stock.

This standard is broken down into four main criteria (A-D).  A decent home is defined as one which meets all of the following four criteria:

Criterion A: It meets the current statutory minimum standard for housing: As of 6th April 2006, this is being measured against a property’s performance with respect to the Housing Health and Safety Rating System (HHSRS). Keystone software allows surveyors to score a hazard on site where the risk exceeds that which may typically be expected.

Criterion B: It is in a reasonable state of repair: Dwellings failing on this point will be those where either:

- One or more key building components are old and need replacing (where key means external components, electric’s and gas heating source); or

- Two or more other (non-key) building elements are old and need replacing.

Criterion C: It has reasonable modern facilities and services: Dwellings failing on this point are those that lack 3 or more of the following:

- A reasonably modern kitchen (years old or less)

- A kitchen with adequate space and layout

- A reasonably modern bathroom (years old or less)

- An appropriately located bathroom and WC

- Adequate noise insulation (where external noise/neighbourhood noise is a problem)

- Adequate size and layout of common areas for blocks of flats

Criterion D: Provides a reasonable degree of thermal comfort: Dwellings failing on those points are those without effective insulation and efficient heating.

There are no outstanding deadlines for the Decent Homes Standard, but KCTMO have an aspiration to address current and potential Decent Homes failures where possible.

9.02	The Survey Method

The Data for Decent Homes was collected alongside the stock condition survey data. The electronic questionnaire was compiled with sections on all four criteria, allowing decisions to be made on whether dwellings could be classified as Decent Homes compliant. Decent Homes data from surveyed properties was extrapolated to unsurveyed properties to ensure the whole stock was represented.

9.03	Data interpretation Extrapolated Results

Criterion A: No dwellings currently fail the Decent Homes Standard.

Criterion B: A total of  No. dwellings currently fail the Decent Homes Standard.

Criterion C: A total of No. dwellings currently fail the Decent Homes Standard.

Criterion D: A total of  No. dwellings currently fail the Decent Homes Standard.

9.04	Current Status

.01	The following table shows the number of dwellings failing each criterion and the costs to rectify the failures, as at September 2012.

| Criterion | Dwelling Failures | Cost to Make Decent |
| --- | --- | --- |
| A |  |  |
| B |  |  |
| C |  |  |
| D |  |  |
| Total |  |  |

The number of properties currently failing the standard is. The total cost to make these properties decent in respect of failure under all criteria is £.

NB:	The total number of properties failing is not the sum total of A-D owing to the fact that certain properties fail on more than one criterion.

.02	The above cost can be broken down into element headings as follows:

| Criterion A | HHSRS Issues |  |
| --- | --- | --- |
| Criterion B | Chimneys |  |
| Criterion B | Roof Coverings |  |
| Criterion B | Wall Structure |  |
| Criterion B | Windows |  |
| Criterion B | Doors |  |
| Criterion B | Electrics |  |
| Criterion B | Heating Distribution |  |
| Criterion B | Boilers |  |
| Criterion B | Bathrooms |  |
| Criterion B | Storage Heaters |  |
| Criterion C | External Noise |  |
| Criterion C | Bathroom Age |  |
| Criterion C | Kitchen Space/Layout |  |
| Criterion C | Common Areas |  |
| Criterion D | Efficient Heating |  |
|  | Total |  |

.03	It is known that KCTMO have a number of properties on estates that do not have programmable central heating systems. Based on guidance received from KCTMO, such properties have not been listed as Decent Homes failures within this report.

.03	As part of the surveys carried out, information pertaining to the HHSRS has been collected. All failures identified during the 2010 Stock Condition Survey have been passed to KCTMO, and officers of KCTMO have advised that the relevant repairs have been carried out to reduce the level of risk below that required to trigger a Decent Homes Standard failure.

Subsequent surveys carried out by officers of KCTMO have identified various hazards and it is assumed that relevant work orders have been raised at the time of the survey, and therefore the current level of risk at the relevant properties will be below that required to trigger failure under the Decent Homes Standard.

9.05	Potential for Non-Decency

Kensington and Chelsea TMO needs to be aware of the on-going need to monitor the performance of the housing stock with respect to the Decent Home Standard.

The Keystone software has been used to form an assessment of properties that could potentially become non-decent in the coming years. A potentially non-decent property is defined in this report as a property that (if no investment is made) will fall into a non-decent state before the end of December 2017.

Over the year period a total of dwellings have the potential under Criterion B and C to fall into a non-decent state if no investment is made. The level of investment required to prevent these properties failing is £.

The cost of remedying these failures can be broken down into element headings as follows:

| Criterion B | Roof Coverings |  |
| --- | --- | --- |
| Criterion B | Wall Finishes |  |
| Criterion B | Windows |  |
| Criterion B | Doors |  |
| Criterion B | Electrics |  |
| Criterion B | Storage Heaters |  |
| Criterion B | Heating Distribution |  |
| Criterion B | Kitchens |  |
| Criterion B | Boilers |  |
| Criterion B | Bathrooms |  |
| Criterion C | External Noise |  |
| Criterion C | Bathroom Age |  |
| Criterion C | Kitchen Space/Layout |  |
|  | Total |  |

9.06	Kensington and Chelsea TMO currently have Decent Homes related works being carried out across the housing stock. A reconciliation of these works and the Stock Condition Survey data has not taken place. It is therefore likely that some of the current and potential Decent Homes failures identified within this report have had sufficient works carried out to bring them above the Decent Homes Standard.

9.07	The Decent Homes projections within this report do take into account of any tenant refusals logged in the Keystone database by KCTMO.

9.08	All of the above costs are fully reflected in the Keystone Standard sections of this report and the total displayed in section 1.

9.09	The Decent Homes costs shown in this section of the report reflect the minimum costs in respect of the Decent Homes standard. In some instances elemental failures will occur within the housing stock that do not trigger whole property failures. Such costs are not shown within this section of the report, but are reflected within the costs shown in the Keystone Standard sections of this report.

10.00	BUDGET STANDARD

10.01	Funding

The information presented previously in this report, reflects the required expenditure as per the Keystone database and other relevant sources of data. KCTMO have advised that over the 30 year period, the likely funding levels for planned maintenance as per the HRA Business Plan will be as shown in the following table:

| Year | Funding £ |
| --- | --- |
| 2012/13 |  |
| 2013/14 |  |
| 2014/15 |  |
| 2015/16 |  |
| 2016/17 |  |
| 2017/18 – 2021/22 |  |
| 2022/23 – 2026/27 |  |
| 2027/28 – 2031/32 |  |
| 2032/33 – 2036/37 |  |
| 2037/38 – 2041/42 |  |
| Total |  |

Over the same year period the capital works identified in the Keystone Standard are as follows (note this excludes Responsive and Cyclical Maintenance detailed elsewhere in this report):

| Category | -Year Total |
| --- | --- |
| Catch-Up |  |
| Future Major Works |  |
| Exceptional Extensive |  |
| Improvements |  |
| Contingent Major Repairs |  |
| Preliminaries |  |
| Total |  |

It is therefore shown that currently proposed funding levels exhibit a potential shortfall in required expenditure to reach the Keystone standard of approximately £ over theyear period. When considering the initial  year period, the shortfall is up to £ if it is assumed that all improvements are carried out during this timeframe.

The costs shown in this report in respect of the Budget Standard do include a provision for staffing costs, which is not allowed for within the other standards shown in this report.

10.02	KCTMO have a policy of ensuring that elements are dealt with initially to reflect the following priorities:

- To be wind an weathertight

- To satisfy legal and legislative requirements

- To meet the Decent Homes Standard.

10.03	In the previous section of this report, it was shown that the current liability for Decent Homes failures across the housing stock is £. This is due to a variety of elements failing, and whilst this falls significantly below the current years budget of £, this does reflect a very minimum level of Decent Homes.

10.04	As shown in Section 10.01, the level of the proposed budget falls below the level identified as being necessary by the Keystone software. There are a number of potential impacts to adopting this proposed level of funding, including:

- An increase in the costs associated with responsive and void maintenance where planned works have been deferred.

- A lower level of tenant and leaseholder satisfaction as the renewal of elements in poor condition is deferred.

- A resultant lower average asset value throughout the housing stock

- Residents will be less able to take advantage of new technologies, for example where more efficient boilers would have been installed.

- A lack of investment in planned maintenance is likely to result in higher levels of health and safety issues arising as elements deteriorate beyond their expected life.

- Residents will have few modern amenities in their properties, for example properties not rewired will generally have fewer plug sockets, and kitchens older than 20 years are likely to be less suitable for modern living standards.

- Lower investment in energy efficiency measures will result in potentially higher fuel bills for residents, in addition to environmental issues.

10.05	It is apparent that many of the elements identified in the Keystone Standard that do not satisfy KCTMO’s maintenance priorities will be excluded from programmes under the Budget Standard. The possible impact of the reduced funding in the first five years is shown in the following table:

| Category | Impact of Reduced Funding |
| --- | --- |
| Catch Up | The current backlog that exists in Keystone of approximately £will increase year on year if no works are carried out to renew elements. With the funding levels shown above it is likely that some of the Catch Up elements will be addressed, however, this cost category will continue to grow over the years. |
| Future Major Works | This considers the renewal of the most significant elements at each dwelling. Current funding proposals would lead to significantly less works being carried out than have been shown as necessary in the Keystone Standard. |
| Exceptional Extensive | With the reduced budget it is likely that little or no works will take place to the structure of the non-traditionally constructed properties. In the long term this may affect the structural integrity of these properties. |
| Improvements | With the reduced budget it is likely that fewer improvement works will take place. |
| Contingent Major Repairs | This category identifies elements that are likely to fail and therefore develop a counterpart cost over the 30 years, but cannot necessary be detected with a sample survey. The current budget levels are likely to lead to a very reduced contingency provision. Of the items listed in the Keystone Standard, only works to boosted water systems and Trellick Tower are likely to be scheduled at all under the current funding proposal, and both at a reduced level. The impact of major issues arising in respect of, for example, drainage or structural issues would require addressing. |
| Responsive Maintenance | This is scheduled to reduce as a lesser amount will be spent on Disabled Adaptations (which are shown under the Responsive Maintenance heading in the Keystone Standard). The lower amount of planned maintenance carried out in the early years is likely to lead to an increase in the required level of Responsive Maintenance in future years. |
| Cyclical Servicing | Servicing of some elements may become an issue as extended lifecycles mean it becomes increasingly difficult to source spare parts. |
| Cyclical Decs | Initially this budget is likely to be fairly unaffected. However, a lack of investment in renewing elements such as windows and doors, may lead to increased Cyclical Decorations costs as elements may deteriorate beyond the point of repair. |
| Preliminaries | Most preliminaries are included within the various rates shown within this report, the exception being scaffolding. With less works being carried out, it is expected that there will be a lower scaffolding requirement |

11.00	ASPIRATIONAL STANDARD

11.01	The Keystone standard presented in the main body of this report reflects a programme of maintaining properties in a reasonable condition, whilst adopting similar lifecycle renewals as have been used in the past. In order to consider further aspirational improvements to properties and estates, it is necessary to look beyond this standard.

The following table demonstrates an Aspirational Maintenance Standard:

| Element | Variation to Higher Standard |
| --- | --- |
| Doors | Adopt yr lifecycle, replace to a higher specification |
| Windows | Replace windows to all properties to a higher specification in the first five years. |
| Bathrooms | Adopt year lifecycle, replace to a higher specification, add shower where none exists (the improvement to install showers in the table below reflects over-bath showers, and the provision of cubical showers where deemed appropriate. This does not allow for the installation of level access showers across the remainder of the housing stock). |
| Kitchens | Replace to a higher specification. Kitchens replaced to this specification are assumed to have a similar lifecycle |
| Heating | Adopt 8 year lifecycle for boilers |
| Electrics | Adopt year lifecycle, replace to a higher specification. |
| Door Entry/CCTV | Replace to a higher specification and install where none exist. A provision for this is made in the Keystone Standard, however, this increased budget allows for more blocks to be addressed. |
| Estate Improvements | A limited amount of works to fencing and paths is included in the Keystone Standard. This provision allows the renewal of the remaining fencing and paths identified as necessary within Keystone. |
| Thermal Efficiency | This assumed budget includes for the provision to insulation solid wall properties, and the provision of various energy efficiency technology on a trial basis including ground source heat pumps, air source heat pumps, photovoltaics. |
| Environmental | This provisional budget reflects the need to make general improvements to environmental areas, and is not included in the Keystone Standard. |
| Common Areas | An additional provisional budget of £ per block is made over the first five years only to bring all common areas up to a reasonable standard including redecoration and replacement flooring etc. |
| Non-Traditional Properties | The Keystone Standard allows for works to the structure of non-traditional properties in order to ensure their on-going structural integrity. This additional provisional budget reflects the need to provide additional thermal insulation to solid wall properties. |

11.02	The following table shows a quantification of the additional costs applicable to the Aspirational Standard, as compared to the Keystone Standard displayed elsewhere in this report:

| Element | Years | Years |
| --- | --- | --- |
| Keystone Standard (Capital) |  |  |
| Doors |  |  |
| Windows |  |  |
| Bathrooms |  |  |
| Kitchens |  |  |
| Heating |  |  |
| Electrics |  |  |
| Door Entry/CCTV |  |  |
| Estate Improvements |  |  |
| Thermal Efficiency |  |  |
| Environmental |  |  |
| Common Areas |  |  |
| Non-Traditional Properties |  |  |
| Sub Total |  |  |
| Total |  |  |

NB	The ‘Keystone Standard’ in the above table reflects capital costs only, specifically the headings of Catch Up, Future Major Works, Contingent Major Repairs, Exceptional Extensive, Improvements and Preliminaries. Revenue costs have been excluded from all comparisons of the three standards. Some of the above aspirational improvements will generate a counterpart increase in servicing costs, which has not been allowed for within this report.

APPENDIX ‘A’

-YEAR PROFILES

APPENDIX ‘B’

LIFE EXPECTANCIES

AND SCHEDULE OF RATES

APPENDIX ‘C’

SURVEYED PROPERTIES STOCKLIST

(to be provided electronically)

APPENDIX ‘D’

APPROVED POLICIES

APPENDIX ‘E’

ASPIRATIONAL STANDARD

APPENDIX ‘F’

ADDITIONAL SUPPORTING INFORMATION